INVESTIGATION REPORT

DOCUMENTS REFERENCE NO.: SYN/GMP/DEV/2022-0179, PR No.:61258

DATE OF INITIATION: 27 Jul 2022

Table of Contents

1.	SOURCE OF NON-CONFORMITY / UNEXPECTED OUTCOME	3

2. DESCRIPTION OF THE NON-CONFORMITY/ UNEXPECTED OUTCOME	3

2.1 Description:	3

2.2 Reference Documents/Instruments/Equipment/Products/Others:	4

2.4 Deviation Initiator Name and Department:	4

3. INVESTIGATION TEAM:	5

4.	INVESTIGATION AND ROOT CAUSE ANALYSIS:	5

4.1.	Initial/Preliminary Impact assessment:	5

4.4.	Root Cause Analysis –	8

4.5.	Summary of data and documents reviewed and experiments (If any):	12

4.6.	Further investigation / recommendation:	12

4.7.	LIST OF ROOT CAUSES AND CONTRIBUTING FACTORS:	12

5.	IMPACT ASSESSMENT:	12

5.1.	Impact on the quality of the product:	12

5.2.	Impact on other products manufactured/analysed in the same facility/lab:	13

5.3.	Impact on other batches, Analysis, materials under storage, equipment, facility, systems, documents, or analytical data:	13

5.4.	Impact on the quality management system, Compliance, and regulatory submission documents:	13

5.5.	Impact on the validated state of the product, process, or analytical method(s) or stability status:	13

5.6 Impact on preventive maintenance, calibration, or qualification status of the equipment, utility, or facility:	13

6.	CORRECTIVE AND PREVENTIVE ACTIONS	14

7.	CONCLUSION:	14

8.	ATTACHMENTS	15

# SOURCE OF NON-CONFORMITY / UNEXPECTED OUTCOME

Table-1: Source of non-conformity / unexpected outcome

| Source of Non-Conformity | Category of Non-Conformity (MAJOR/MINOR/CRITICAL) | Documents Reference Number |
| --- | --- | --- |
| ☑ Deviation | Major | SYN/GMP/DEV/2022-0179 PR No.:61258 |

# 2. DESCRIPTION OF THE NON-CONFORMITY/ UNEXPECTED OUTCOME

# 2.1 Description:

On 02 May 2022, EDMS-Documentum LSQM user Ms. Namitha Sreenivasan (Employee Code: 10017793) had identified that there was an error in the Version number and Effective Date information displayed in the header of SPEC-GMP-QCS-FG-830001970-CLS-0001, SAN711 Cleaning specification. The correct major Version number and Effective Date was not reflecting in the PDF document displayed in the EDMS system. Instead, the minor Version number 0.6 and blank Effective Date was displayed in the header. Immediately the user notified via email to Nikith Rai (Employee code: 10018720) to rectify the issue on 02 May 2022 10:57AM.

Incorrect Version number and blank Effective Date displayed. Refer Screenshot-1

Desired State: For the SPEC-GMP-QCS-FG-830001970-CLS-0001, SAN711 Cleaning specification in the header, Version number of 1.0 and Effective Date of 02-May-2022 should have displayed as per SOP on Electronic document management system SOP-GMP-QA-0060 Ver. No.06.

# 2.2 Reference Documents/Instruments/Equipment/Products/Others:

Table-2: Details of reference document.

Reference Document

ELECTRONIC DOCUMENT MANAGEMENT SYSTEM - SOP-GMP-QA-0060 V: 5.0

SYN/GMP/DEV/2022-0179 PR No.:61258

2.3 Sequence of events:

Table-3: Sequence of events

| Date | Event |
| --- | --- |
| 28-Apr-2022 (5:57 PM) | QA Approved 0.6 version of the document SPEC-GMP-QCS-FG-830001970-CLS-0001. QA Approver Chandrasekhar Reddy (Employee Code: 10025755) approved the document. |
| 02-May-2022 (10:41 AM) | Document Coordinator Ms. Namitha Sreenivasan made the document Effective |
| 02-May-2022 (10:54 AM) | Ms. Namitha Sreenivasan took screenshot of the error. |
| 02 May 2022 (10:57 AM) | On 02 May 2022, EDMS user Ms. Namitha Sreenivasan had identified that there was an error in SPEC-GMP-QCS-FG-830001970-CLS-0001, SAN711 Cleaning specification, The correct major Version number and Effective Date was not reflecting in the PDF document displayed in the EDMS system. Immediately the user notified via email to Nikith Rai (Employee code: 10018720) to rectify the issue on 02 May 2022 10:57AM. |
| 04 May 2022 | Apart from the above-mentioned document, there were several other documents also got impacted due to rendition issue. Ticket was logged with vendor to rectify the issue. |
| 09 May 2022 | Deviation was logged to address the issue*. |

*Delay Justification: Rendition issue was identified on 02 May 2022 and IT team was investigating internally and the issue was escalated to vendor to identify the root cause. However, there was a declared holiday for vendor on 02 May 2022 and on 03 May 2022 there was holiday for Syngene. From 04 May 2022 to 06 May 2022 IT, EDMS and Vendor had a series of discussions to identify the root cause. Hence, it was logged on 09 May 2022.

# 2.4 Deviation Initiator Name and Department:

Mrs. Lakshmi Subrahmanyam ID: 10015030, QA.

# 3. INVESTIGATION TEAM:

Table-4: Investigation team

| Name | Designation | Department | Employee Number |
| --- | --- | --- | --- |
| Nikith Rai SimonRaju IS | Manager | IT | 10018720 |
| Simon Raju | Associate Manager | QA | 10028551 |
| Ranjith Kumar | Associate Manager | IT | 10023059 |
| Saroja Sahu | Junior Manager | IT | 10027066 |
| Naveenkumar Mahadeva | Junior Manager | CQA | 10021912 |
| K Karthik | Assistant Manager | CQA | 10024883 |

# INVESTIGATION AND ROOT CAUSE ANALYSIS:

# Initial/Preliminary Impact assessment:

The deviation is related to not having the Correct Version number and Effective Date on the EDMS document. Usually the document rendition generation program/code is normally invoked automatically by the system when a document is made effective.

To correct the issue, the ticket has been raised to rectify the EDMS issue the with vendor (Refer ticket no. 10426: Rendition issue Date of initiation 04 May 2022). All the impacted documents rendition was corrected manually by the IT Admin and Vendor. The same document rendition generation program/code was invoked manually by the vendor/IT Admin to refresh the rendition of the PDF document.

We have assessed the impacted documents in EDMS for any rendition issue (Refer Attachment 2: List of impacted documents), All the impacted documents rendition was corrected manually by the IT Admin and Vendor.

As all the impacted documents were identified and corrected manually, there is no impact on the document available on the EDMS.

As part of the investigation, EDMS qualification documents were reviewed (Doc No: S/20/VSR/0003) and no impact was found to the qualification status of EDMS. There is no impact on the product since the deviation is related to documents generated in EDMS.

As a part of investigation, to assess the impact on the documents prepared prior to current deviation 02 May 2022 and after 04 May 2022 do not have any rendition issue related to the problem described (lack of free space on EDMS Content server disk drive).

With this evaluation documents which are available in EDMS, (i.e., available data, current data/document, and previous data) have no impact. Similar kind of discrepancy were not observed prior to 02 May 2022 and after 04 May 2022 across other domains across Syngene (Bangalore and MSEZ). After 04 May 2022 the documents generated did not have rendition issue and usage of EDMS was restored to normal.

Screenshot of refreshed rendition of PDF document – Correct Version number and Effective Date are displayed on the EDMS document. Refer Screenshot-2

Conclusion: Based on the initial impact assessment, there is no impact on the document and the product and qualified status of EDMS. However, the detailed impact shall be performed in section -5.0.

  - Immediate Actions or Correction:

As an immediate action, issue was escalated by user Ms. Namitha Sreenivasan through mail to IT department to rectify the issue on high priority on 02 May 2022. Post notification by Namitha, System admin Mr. Ranjith Kumar – (Employee Code 10023059) has verified the CPU usage, memory usage and storage space on “C” Drive on EDMS servers (SPSYGDMS00001 – Data base server, SPSYGDMS00002 APP server, SPSYGDMS00003 – secondary app server, SPSYGDMS00004 -  Content server, SPSYGDMS00005 – secondary content server, SPSYGDMS00006 – rendition server, SPSYGDMS00007-explore server, SPSYGDMS00008 – secondary explore server) and found that there was no sufficient disk storage space on “C” Drive of content server. Mr. Ranjith Kumar has cleared unnecessary files and made sufficient space available on “C” Drive for smooth functioning of EDMS.

Refer attachment 1: Screenshot of EDMS Content Servers C drive disk storage space for more details. The Less free space available on “C” Drive content server was hampering the performance of the EDMS and causing the EDMS system to operate unusually very slow. After the C Drive space was freed, EDMS application services were restarted by Mr. Nikith Rai. After restart activity was performed on 04 May 2022 late evening, the users were able to access EDMS and the system operated as required.

  - Historical Check:

The investigation team verified the Trackwise deviations data from 09 May 2021 and 09 May 2022 for any missing Effective Date and minor Version number in PDF documents. It was observed that there was one deviation logged with respect to EDMS rendition issue. The details of the previous deviation is given below.

| PR No. | Root cause | CAPA |
| --- | --- | --- |
| 54146 | Due to learning gap of the author, the effective date was not captured in few pages of packaging record header of batch records of PAL-GMP-FC-GPP-0007 and PAL-GMP-FC-GPP-0008. | Corrective Action: 1) Training imparted to Mrs. Barkha Kumari, (Emp ID: 10009779) for the SOP: SOP-GMP-QA-0060, Title: Electronic Document Management System, Responsibility (Department):QA Target Timeline: Completed 2) Awareness training has been imparted to below people on SOP: SOP-GMP-QA-0060 Title: Electronic Document Management System. Employee Name and Employee Id details are as follows. Mr. Tanveer Ahamed (10025795) Mr. Ananta Barik (10025333) Mr. Imthiyas J (10026488) Mrs. Thejaswini HB (10016513) Mrs. Barkha Kumari (10009779) Mr. Banam Ramesh (10024828) Mr. Shridhar Mahendra (10017786) Mrs. Nisha Thomas (10019314) Responsibility (Department): Production Target Timeline: Completed 3) The packaging record document PAL-GMP-FC-GPP-0007 and PAL-GMP-FC-GPP-0008 shall be revised in EDMS to update the effective date in the header of the complete document. Responsibility (Department): S15 Formulation Unit Target Timeline: 05 Apr 2022 Preventive action: Not applicable |

Conclusion: As a part of history check evaluation, the investigation team verified that a prior deviation (PR# 54146) and it was found that the previous deviation was occurred due to human error during document preparation.

# Root Cause Analysis –

To identify the root cause for the deviation the investigation team was adopted why-why analysis tool, procedural evaluation, personnel evaluation, and system evaluation.

- Why-Why analysis:

A detailed system evaluation was performed through the why - why analysis to find out the root cause.

| 1 | Why was the updated version number and Effective date were not reflecting in the PDF document? |
| --- | --- |
| Ans. | After the document was made Effective the major version and effective date information was not updated in the Word and PDF Rendition files by the EDMS program. |
| 2 | Why didn’t the EDMS program update the version and effective date correctly in the Rendition files? |
| Ans. | A Java Method Server (JMS) program operates on the EDMS server. This program handles the processing of the workflow and after a document state change sends a request to the Rendition server to update and generate a new Rendition file. The JMS program was presumably operating very slowly between 02 May 2022 morning and 04 May 2022 evening and hence probably was not able to send request to the rendition server to generate the updated Rendition files. |
| 3 | Why was the JMS program operating very slowly between 02 May 2022 and 04 May 2022? |
| Ans. | The JMS program runs on the EDMS Content server. The C Drive on the EDMS Content server became full. The amount of free disk space was very low when observed by EDMS IT Admin (Mr. Nikith Rai Employee Code: 10018720) on 04 May 2022 evening. The low free disk space on Content server probably caused JMS program to operate very slowly between 02 May 2022 and 04 May 2022. JMS Program uses the C Drive to save log information and other Windows programs that run on the server need sufficient free space to operate normally. If there is no sufficient free space in the drive of the server, computer starts slowing down. Technically, the operating system needs to have a free space in drive to run smoothly, but when there is not enough space, system will pose process issues. |
| 4 | Why the C Drive on EDMS Content server suddenly had low free disk space. |
| Ans. | The C drive on EDMS content server was having the capacity of 104 GB. As a part of user notification IT had verified the “C” Drive and it was found that “C” Drive was less than 1GB of free space. Some space was created by moving files to the D Drive which had over 600 GB free space and system administrator observed the operating system Visual Effects setting was consuming lot of disk space on the C Drive. System administrator also changed the Visual Effects setting which created more free space on the C Drive. Refer Figure 1 below. Technically, the operating system needs to have a sufficient free space in drive C to run the application software as intended. The EDMS Content server should have 4864 MB (4.75 GB) of free disk space on C drive for the operating system to function normally. This limit was set during initial configuration of the server |
| 5 | Is there any alert message and pop-up triggered from system when storage free space has crossed less than 4.75 GB? |
| Ans | There is no alert message and pop-up message triggered from the system since there was no monitoring tool was set-up to monitor hard disk free space. |

Inference: Based on the why-why analysis it is concluded that the cause for the deviation is due to no monitoring tool was set-up to monitor hard disk free space on server.

It was proposed that IT System administrator can setup monitoring tool on server to ensure it does not fall below the required free disk space.  Refer Screenshot-3

- Procedural Evaluation:

The SOP on Electronic Document Management System, SOP-GMP-QA-0060 V: 6.0 was evaluated. The SOP defined the EDMS process flow and workflow, there is no gap identified in the procedure for process and workflow in the SOP.

However, the SOP has not explained about the server storage space and further procedure to make sufficient free space available on server and monitoring of server disk space to ensure it does not fall below the required free disk space.

Conclusion: SOP on Electronic Document Management System, SOP-GMP-QA-0060 V: 6.0 shall be revised to provide instructions to IT Admin to make sufficient space available whenever the storage space is minimum and procedure for periodic monitoring of storage space of EDMS shall be provided.

- Personnel evaluation (Personnel involved in discrepancy or related to the discrepancy):

All the personnel involved in the deviation were trained on EDMS SOP. Since the error was related to technical issue and it is concluded that the deviation due to Personnel is ruled out.

The screenshot below shows the users who initiated the approval, reviewed, and approved the document. Ms. Gowthami Ramagowni was the assigned Document Coordinator. Ms. Namitha Sreenivasan as Document Coordinator made the document effective. Refer Screenshot-4 for more details.

| Name | Designation | Department | Employee Number |
| --- | --- | --- | --- |
| Namitha Sreenivasan SimonRaju IS | Executive | QC | 10017793 |
| Poornima Ishwar | Senior Executive | QA | 10022616 |
| Shwetha Krishnamurthy | Associate Manager | QC | 10008954 |
| Chandrasekhar Reddy | Associate Scientist | QA | 10025755 |
| Gowthami Ramagowni | Junior Manager | QC | 10007793 |

Inference: Based on the above details, the Deviation due to the inadequate personnel competency /insufficient training and lack of procedural knowledge is ruled out.

Historical check evaluation: As a part of the historical check evaluation the previous root cause was found to be due to the learning gap and the same was verified in the current deviation, the identified root cause was found to be the C’ Drive on content server was not having sufficient free space to function as intended. When reviewed the previous investigation, it is evident that the author had inadvertently deleted/ edited the header details and overlook to identify the auto-update fields in the header. Hence the document auto-update is not uniform in all the pages which resulted in effective date was not uniform the header section. Hence the same was verified in the current investigation, and it was found to be there was no error done by users. Hence the identified root cause was different from the previous root cause, and it is not a repetitive in nature.

Details of Personnel interacted:

Ranjith Kumar Emp. ID 10023059 IT Technical person.

# Summary of data and documents reviewed and experiments (If any):

During investigation verified the impacted documents data and verified the servers for free disk space of all servers of EDMS. It is found that total space on the C Drive on EDMS Content server is 104 GB. Less than 1 GB free space was available on content servers.

# Further investigation / recommendation:

Further investigation is not required as definitive root cause for error was determined.

# LIST OF ROOT CAUSES AND CONTRIBUTING FACTORS:

Table-5: Root cause and a contributing factor

| Type (Definitive root cause/Most Probable root cause/Contributing factor) | Cause description |
| --- | --- |
| Definitive root cause | ‘C’ Drive on content server was not having sufficient free space to function as intended. |
| Contributing factor | There is no monitoring tool set-up on server to monitor free disk space on server. There is no procedure available in SOP on Electronic Document Management System, SOP-GMP-QA-0060 V: 6.0 to provide instructions to IT Admin to make sufficient space available whenever the storage space is minimum and procedure for periodic monitoring of storage space of EDMS. |

# IMPACT ASSESSMENT:

# Impact on the quality of the product:

The observed deviation was related to Version number and Effective Date information displayed in the header of SPEC-GMP-QCS-FG-830001970-CLS-0001, SAN711 Cleaning specification. The correct major Version number and Effective Date was not reflecting in the PDF document displayed in the EDMS system. This Deviation was initiated to address discrepancy of version number and effective date in the EDMS PDF document. The impacted documents rendition was manually corrected by IT Admin and Vendor. Based on the root cause identified, the deviation was occurred due to ‘C’ Drive in content server became full and not related to product quality, safety, identity, and efficacy. Hence, there is no impact on the quality of product.

# Impact on other products manufactured/analysed in the same facility/lab:

As explained in section 5.1 the deviation was related to Version number and Effective Date information was not displayed in the header of document. Hence, there is no impact on other products manufactured / analysed in the same facility / lab is not applicable.

# Impact on other batches, Analysis, materials under storage, equipment, facility, systems, documents, or analytical data:

As explained in section 5.1 the deviation was related to Version number and Effective Date information was not displayed in the header of document. Hence, there is no impact on other batches, analysis, materials under storage, equipment, facility, systems, documents or analytical is not applicable.

# Impact on the quality management system, Compliance, and regulatory submission documents:

As explained in section 5.1 the deviation was related to Version number and Effective Date information was not displayed in the header of document. Hence, there is no impact on the quality management system, and regulatory submission documents is not applicable.

# Impact on the validated state of the product, process, or analytical method(s) or stability status:

As explained in section 5.1 the deviation was related to Version number and Effective Date information was not displayed in the header of document. Hence, there is no impact on validated state4 of the product, process, or analytical methods or stability is not applicable.

# 5.6 Impact on preventive maintenance, calibration, or qualification status of the equipment, utility, or facility:

As explained in section 5.1 the deviation was related to Version number and Effective Date information was not displayed in the header of document. Hence, there is no impact preventive maintenance, calibration, or qualification status of the equipment, utility, or facility is not applicable.

# CORRECTIVE AND PREVENTIVE ACTIONS

The basis on the detailed investigation, the following CAPA has been proposed,

- CORRECTIVE ACTION

| Sl. No. | Corrective Action | Responsibility (Department) | Target timeline |
| --- | --- | --- | --- |
|  | Correction: System admin Ranjith Kumar – (Employee Code 10023059) cleared unnecessary files and freed space in C drive. Refer Attachment 1: Screenshot of C drive disk storage space. | IT | Completed 04 May 2022 |
|  | Preventive Action: IT-Infra team to schedule alerts to monitor disk space for all EDMS servers on Production Environment by monitoring tool (Virtual server monitoring tool). This tool will be configured to send email alert when the free space falls below 10 GB. | IT | 31 Dec 2022. |
|  | Preventive Action: SOP on Electronic Document Management System, SOP-GMP-QA-0060 V: 6.0 shall be revised to provide instructions to IT Admin to make sufficient space available whenever the storage space is minimum and periodic monitoring of storage space of EDMS shall be provided. | CQA | 31 Dec 2022 |

# CONCLUSION:

As an immediate action, the impacted documents rendition (Version No. and Effective date) was corrected manually by IT Admin and Vendor.

Based on the why-why analysis, the root cause for the deviation is ‘C’ Drive in content server became full due to accumulation of files due to operating system activities.

Evaluated detailed impact assessment, and it reveals no impact on product quality.

Correction has been done based on the identification of the root cause and inputs from vendor and IT Team.

Following CAPA shall be proposed to avoid re-occurrence of deviation.

- IT-Infra team to schedule alerts to monitor disk space for all EDMS servers on Production Environment by monitoring tool (Virtual server monitoring tool). This tool will be configured to send email alert when the free space falls below 10 GB.

- SOP on Electronic Document Management System, SOP-GMP-QA-0060 V: 6.0 shall be revised to provide instructions to IT Admin to make sufficient space available whenever the storage space is minimum and periodic monitoring of storage space of EDMS shall be provided.

# ATTACHMENTS

Table-6: Attachments

| Attachment No. | Details |
| --- | --- |
| 01 | Refer Attachment 1: Screenshot of EDMS Content Servers C drive disk storage space. |
| 02 | Refer Attachment 2: List of impacted documents. |
| 03 | Screenshot-1 |
| 04 | Screenshot-2 |
| 05 | Screenshot-3 |
| 06 | Screenshot-4 |